## Sheet1
Group | stage | Wafer | Device | size |  | CW at Tmax | [5 empty] | Pulsed at 300 K |  |  |  |  | pulse at Tmax |  |  |  | T0 | ∆T | note | alive | operator
|  |  |  | width | length | Tmax | λ | Jth | Vth | Pth | P | λ | Jth | Vth | Pth | ηvoltage | Tmax | Jth | Vth | Pth | up to 300K | Tp-Tcw
|  |  |  | μm | mm | K | μm | A/cm2 | V | kW/cm2 | W | μm | A/cm2 | V | kW/cm2 |  | K | A/cm2 | V | kW/cm2 | K | K
10 | 10 | 48 thin top | R048B_2D | 20 | 1.9 |  | Pulsed at 300 K λ: 5.3; Pulsed at 300 K Jth: 1710; Pulsed at 300 K Vth: 3.28; Pulsed at 300 K Pth: 5.6088 | 0.7133 | 308 | 5263
| 10 |  | R048B_2F | 30 | 1.9 |  | Pulsed at 300 K λ: 5.3; Pulsed at 300 K Jth: 1491; Pulsed at 300 K Vth: 3.28; Pulsed at 300 K Pth: 4.8905 | 0.7133 | 308 | 3333
| 10 |  | R048B_3E | 15 | 1.25 | 248 | λ: 5.24; Jth: 1100; Vth: 3.03; P: 0.62494
| 10 |  | R048B_3F | 20 | 1.25 | 245 |  | 1000 | 2.89 |  | 0.7225 | 5.3 | 1864 | 3.25 | 6.058 | 0.71988 | 308 | 7800
| 10 |  | R048B_4D | 20 | 1.25 |  | P: 0; Pulsed at 300 K λ: 5.3; Pulsed at 300 K Jth: 2760; Pulsed at 300 K Vth: 3.5; Pulsed at 300 K Pth: 9.66 | 0.66846 | 308 | 7600
| 10 | 49 | R049B_1D | 15 | 2.6 | 247 | λ: 5.28; Jth: 615; Vth: 2.97; P: 0.71235
| 10 |  | R049B_3F | 30 | 1.5 |  | P: 0; Pulsed at 300 K λ: 5.3; Pulsed at 300 K Jth: 2355; Pulsed at 300 K Vth: 4.24; Pulsed at 300 K Pth: 9.9852 | 0.5518
| 10 |  | R049B_4A | 40 | 1.2 |  | P: 0; Pulsed at 300 K λ: 5.3; Pulsed at 300 K Jth: 1150; Pulsed at 300 K Vth: 4; Pulsed at 300 K Pth: 4.6 | 0.58491 | 305 | 2940
12 | 12 | 65 | R065A-1D | 20 | 1 | 253 | 5.3 | 624 | 3.98 |  | 0.4967 | 5.4 | 1459 | 4.92 | 7.1783 | 0.56007
| 12 |  | R065A_4D | 15 | 1.4 | 247.5 | P: 0; Pulsed at 300 K λ: 5.4; Pulsed at 300 K Jth: 800; Pulsed at 300 K Vth: 3.8; Pulsed at 300 K Pth: 3.04 | 0.72515 | 318 | 3190
| 12 |  | R065A_4G | 15 | 1.4 | 250 | P: 0; Pulsed at 300 K λ: 5.4; Pulsed at 300 K Jth: 643 |  | ? | [5 empty] | cleo
| 12 | 66 thin | R066J2_D | 16 | 2.5 | 230 | 5.15 | 1000 |  |  | 0 | 5.34 | 2600 | 5.28 | 13.728 | 0.52775 | 315 | 4400 |  |  |  |  | cleo
8 | 8 | 81 | R081BA_1E | 150 | 1.05 |  | P: 0; Pulsed at 300 K λ: 4.6; Pulsed at 300 K Jth: 1111
| 8 |  | R081BA_2B | 150 | 1.05 |  | P: 0; Pulsed at 300 K λ: 4.6; Pulsed at 300 K Jth: 1080
| 8 | 82 | R082BA_1E | 150 | 1 |  | P: 0; Pulsed at 300 K λ: 4.9; Pulsed at 300 K Jth: 820; Pulsed at 300 K Vth: 4.16
| 8 |  | R082BA_2C | 150 | 1.1 |  | P: 0; Pulsed at 300 K λ: 4.9; Pulsed at 300 K Jth: 654.5455
83/84/88 8 stages | 8 | 83 | R083BA_1H | 150 | 1.2 | 200 | P: 0; Pulsed at 300 K λ: 4.82; Pulsed at 300 K Jth: 501; Pulsed at 300 K Vth: 3.4; Pulsed at 300 K Pth: 1.7034 | 0.60532 | 300 |  |  |  | 46.9 | 100 |  | n
| 8 |  | R083BA_2C | 150 | 1.53 |  | P: 0; Pulsed at 300 K λ: 4.9; Pulsed at 300 K Jth: 470; Pulsed at 300 K Vth: 3.2; Pulsed at 300 K Pth: 1.504
| 8 |  | R083BA_2E | 150 | 1.53 |  | P: 0; Pulsed at 300 K λ: 4.88; Pulsed at 300 K Jth: 364; Pulsed at 300 K Vth: 3.28; Pulsed at 300 K Pth: 1.1939 | 0.61975
| 8 |  | R083BA_2F | 150 | 1.53 | 237 | 4.76 | 275 | 2.77 |  | 1.7482 | 4.88 | 344 | 3 | 1.032 | 0.6776 | 337 | 2140 |  |  | 56
| 8 |  | R083BA_3A | 150 | 1.9 |  | P: 0; Pulsed at 300 K λ: 4.8; Pulsed at 300 K Jth: 407; Pulsed at 300 K Vth: 3.8; Pulsed at 300 K Pth: 1.5466 | 0.54386
| 8 |  | R083BA_3H | 150 | 1.9 | 237 | 4.76 | 253 | 2.75 |  | 1.9829 | 4.86 | 297 | 3.3 | 0.9801 | 0.61853 | 335 | 973 |  |  | 54
| 8 | 84 | R084BA_1C | 150 | 1.48 |  | P: 0; Pulsed at 300 K λ: 5.07; Pulsed at 300 K Jth: 414; Pulsed at 300 K Vth: 4.1; Pulsed at 300 K Pth: 1.6974 | 0.47722 |  |  |  |  | 44.2
| 8 |  | R084BA_1F | 150 | 1.48 |  | P: 0; Pulsed at 300 K λ: 5.06; Pulsed at 300 K Jth: 563; Pulsed at 300 K Vth: 4.4; Pulsed at 300 K Pth: 2.4772 | 0.44556
| 8 |  | R084BA_1G | 150 | 1.48 | 209 | 4.9 | 123.8739 | 2.49 | 0.30845 | 0.68475 | 5.06 | 367 | 3.6 | 1.3212 | 0.54458 | 315 | 900 | 5.28
| 8 |  | R084BA_2B | 150 | 0.97 |  |  |  |  | 0 | 0 | 5.04 | 536 | 3.84 | 2.0582 | 0.51257
| 8 |  | R084BA_2C | 150 | 0.97 |  |  |  |  | 0 | 0 | 5.05 | 540 | 3.84 | 2.0736 | 0.51155
| 8 |  | R084BA_2D | 150 | 0.97 |  |  |  |  | 0 | 0 | 5.05 | 557 | 3.76 | 2.0943 | 0.52244
| 8 |  | R084BA_2E | 150 | 0.97 |  |  |  |  | 0 | 0 | 5.05 | 557 | 3.76 | 2.0943 | 0.52244
| 8 |  | R084BAP_1A | 150 | 1.12 | 220 |  | 126 | 2.55 | 0.3213 | 0.53978 | 5.02 | 619 | 3.76 | 2.3274 | 0.52556 | 300
| 8 | 87 | R087BA_2G | 150 | 1.1 | 210 | Jth: 232; P: 0; Pulsed at 300 K λ: 5; Pulsed at 300 K Jth: 824 |  | 300
| 8 |  | R087BA_3 | 150 | 2 | 232 | Jth: 315; P: 0; Pulsed at 300 K λ: 5; Pulsed at 300 K Jth: 600 |  | 320 | 1700
| 8 | 88 | R088BA_1B | 150 | 1.2 | 200 |  |  |  | 0 | 0 | 4.96 | 643 | 4.32 | 2.7778 | 0.46296 | 310 |  |  |  |  | 110
| 8 |  | R088BA_1E | 150 | 1.2 |  |  |  |  | 0 | 0 | 4.97 | 705 | 4.4 | 3.102 | 0.45363
| 8 |  | R088BA_3A | 150 | 1.29 |  | P: 0; Pulsed at 300 K λ: 4.9; Pulsed at 300 K Jth: 682; Pulsed at 300 K Vth: 4.12; Pulsed at 300 K Pth: 2.8098 | 0.49138
| 8 |  | R088BA_5A | 150 | 2 | 229 | P: 0; Pulsed at 300 K λ: 4.9; Pulsed at 300 K Jth: 577
| 8 |  | R088BA_5C | 150 | 2 | 230 | Jth: 280; Vth: 2.97; P: 2.4948; Pulsed at 300 K λ: 4.9; Pulsed at 300 K Jth: 560 |  | 320 | 1250
| 8 | 93 | R093BA_3E | 150 | 2 | 231 | 4.54 | 243 | 3.126 |  | 2.2789 | 4.66 | 360 | 3.68
| 8 |  | R093BA_3G | 150 | 2 |  | P: 0; Pulsed at 300 K λ: 4.66; Pulsed at 300 K Jth: 357; Pulsed at 300 K Vth: 3.68 |  | 327
| 8 |  | R093BA_3H | 150 | 2 | 227 | 4.54 | 247 | 3.081 |  | 2.283 | 4.66 | 353 | 3.64 |  |  | 327
95/96/97 10 stages | 10 | 95 | R095BA_1A | 150 | 1.15 | 167 |  |  |  | 0 | 0 | 4.8 | 475 | 4.48 | 2.128 | 0.57664 | 320 | 1275 | 4.4 |  | 49.3 | 153 |  | n
| 10 |  | R095BA_1B | 150 | 1.15 |  |  |  |  | 0 | 0 | 4.79 | 475 | 4.48 | 2.128 | 0.57784 | 320 | 1148 | 6.5
| 10 |  | R095BA_1F | 150 | 1.15 |  |  |  |  | 0 | 0 | 4.86 | 455 | 4.56 | 2.0748 | 0.55953 | 320 | 969 | 6.4 |  |  | 320
| 10 |  | R095BA_2A | 150 | 0.82 | 180 |  | 113 |  | 0 | 0 | 4.8 | 565 | 4.48 | 2.5312 | 0.57664 | 315 | 1400 | 5.04 |  | 49.7 | 135
| 10 | 96 | R096BA_1B | 150 | 1.23 | 170 | 4.3 | 71 | 3.41 | 0.24211 | 0.44669 | 4.64 | 396 | 4.32 | 1.7107 | 0.61861 | 330 | 1278 |  |  |  | 160
| 10 |  | R096BA_1C | 150 | 1.23 | 170 | 4.3 | 50.6 | 3.33 | 0.1685 | 0.31088 | 4.63 | 407 | 4.32 | 1.7582 | 0.61995 | 325 | 1236 | 4.92 |  | 53.4 | 155 |  | n | niuchao
| 10 |  | R096BA_1E | 150 | 1.23 |  |  |  |  | 0 | 0 | 4.61 | 393 | 4.32 | 1.6978 | 0.62264 | 320 | 705 | 5.2 |  |  |  | die@330K | n
| 10 |  | R096BA_1G | 150 | 1.23 | 185 | 4.3 | 139 | 3.59 | 0.49901 | 0.92067 | 4.59 | 409 | 4.24 | 1.7342 | 0.63715 | 325 | 965 |  |  |  | 140
| 10 |  | R096BA_1H | 150 | 1.23 | 190 | 4.3 | 100.5 | 3.49 | 0.35075 | 0.64712 | 4.54 | 412 | 4.32 | 1.7798 | 0.63224 | 320 | 911 | 4.36 |  |  | 130 |  |  | niuchao
| 10 |  | R096BA_2C | 150 | 0.88 |  |  |  |  | 0 | 0 | 4.65 | 679 | 4.16 | 2.8246 | 0.64103 | [6 empty] | retest, same
| 10 |  | R096BA_2E | 150 | 0.88 |  |  |  |  | 0 | 0 | 4.65 | 691 | 4.16 | 2.8746 | 0.64103 | 305 | [6 empty] | n
| 10 |  | R096BA_2F | 150 | 0.88 | 210 | 4.35 | 201 | 3.61 | 0.72561 | 0.95781 | 4.58 | 864 | 4.56 | 3.9398 | 0.59373 | 300 |  |  |  | 47.4 | 90 |  | n
| 10 |  | R096BA_2H | 150 | 0.88 |  |  |  |  | 0 | 0 | 4.61 | 733 | 4.28 | 3.1372 | 0.62846 | [6 empty] | degrade
| 10 |  | R096BA_3B | 150 | 2.5 |  | P: 0; Pulsed at 300 K λ: 4.56; Pulsed at 300 K Jth: 288; Pulsed at 300 K Vth: 4.2; Pulsed at 300 K Pth: 1.2096 | 0.64745
| 10 |  | R096BA_3D | 150 | 2.5 | 214 | 4.44 | 144 | 3.56 |  | 1.9224 | 4.56 | 301 | 4.16 | 1.2522 | 0.65368
| 10 |  | R096BA_3F | 150 | 2.5 | 209 | 4.41 | 108 | 3.44 |  | 1.3932 | 4.56 | 263 | 4 | 1.052 | 0.67982 | 340 | 1093
| 10 | 97 | R097BA_1A | 150 | 1.23 | 193 | 4.5 | 147 | 3.24 | 0.47628 | 0.87874 | 4.87 | 596 | 4.48 | 2.6701 | 0.56835 | 310 | 818 | 5.2 |  |  | 117 |  | n
| 10 |  | R097BA_1B | 150 | 1.23 |  |  |  |  | 0 | 0 | 4.87 | 672 | 4.64 | 3.1181 | 0.54875 | 313 | 965 | 5.44 |  |  |  |  | y
| 10 |  | R097BA_1C | 150 | 1.23 |  |  |  |  | 0 | 0 | 4.87 | 715 | 4.88 | 3.4892 | 0.52176 | [7 empty] | n
| 10 |  | R097BA_1D | 150 | 1.23 |  |  |  |  | 0 | 0 | 4.87 | 808 | 4.88 | 3.943 | 0.52176 | 310 | 1127 | [5 empty] | n
| 10 |  | R097BA_1E | 150 | 1.23 |  |  |  |  | 0 | 0 | 4.88 | 732 | 5.2 | 3.8064 | 0.48865
| 10 |  | R097BA_1F | 150 | 1.23 |  |  |  |  | 0 | 0 | 4.88 | 705 | 4.96 | 3.4968 | 0.5123
| 10 |  | R097BA_1G | 150 | 1.23 |  |  |  |  | 0 | 0 | 4.88 | 672 | 4.88 | 3.2794 | 0.52069
| 10 |  | R097BA_1H | 150 | 1.23 |  |  |  |  | 0 | 0 | 4.91 | 612 | 4.64 | 2.8397 | 0.54428
| 10 |  | R097BA_2B | 150 | 1 |  |  |  |  | 0 | 0 | 4.85 | 853 | 4.96 | 4.2309 | 0.51546 | [6 empty] | reborn
| 10 |  | R097BA_2H | 150 | 1 | 195 | 4.58 | 214 | 3.32 | 0.71048 | 1.0657 | 4.85 | 760 | 3.76 | 2.8576 | 0.67997 | 310 |  |  |  | 50.6 | 115
105/6/7/8 10 stages cladding p | 10 | 105 | R105BA_1B | 150 | 1.88 |  |  |  |  | 0 | 0 | 5.01 | 890 | 5.76 | 5.1264 | 0.4297
| 10 |  | R105BA_1C | 150 | 1.88 |  |  |  |  | 0 | 0 | 5.03 | 700 | 5.12 | 3.584 | 0.48149
| 10 |  | R105BA_1D | 150 | 1.88 |  |  |  |  | 0 | 0 | 5.03 | 640 | 4.72 | 3.0208 | 0.52229
| 10 |  | R105BA_1G | 150 | 1.88 |  |  |  |  | 0 | 0 | 5.03 | 540 | 4.16 | 2.2464 | 0.5926 | 325 | [6 empty] | y
| 10 |  | R105BA_1H | 150 | 1.88 | 200 |  |  |  | 0 | 0 | 5.05 | 1020 | 5.28 | 5.3856 | 0.46505 | 300 |  |  |  |  | 100 |  | n
| 10 | 107 | R107BA_1B | 150 | 1.6 |  |  |  |  | 0 | 0 | 4.97 | 1260 | 5.6 | 7.056 | 0.44553 | 300 | [6 empty] | n
| 10 |  | R107BA_1C | 150 | 1.6 |  |  |  |  | 0 | 0 | 4.98 | 1040 | 4.8 | 4.992 | 0.51874 | 305 | [6 empty] | n
| 10 |  | R107BA_1D | 150 | 1.6 | 195 |  |  |  | 0 | 0 | 4.97 | 1070 | 4.8 | 5.136 | 0.51979 | 300 |  |  |  |  | 105 |  | n
123/4/5/6 15 stages | 15 | 123 | R123BA_1B | 100 | 1.5 |  |  |  |  | 0 | 0 | 5.25 | 1027 | 6.4 | 6.5728 | 0.55357
| 15 |  | R123BA_1C | 150 | 1.5 |  |  |  |  | 0 | 0 | 5.34 | 511 | 5.76 | 2.9434 | 0.60471
| 15 |  | R123BA_1E | 150 | 1.5 |  |  |  |  | 0 | 0 | 5.34 | 542 | 5.76 | 3.1219 | 0.60471
| 15 |  | R123BA_1F | 150 | 1.5 |  |  |  |  | 0 | 0 | 5.34 | 880 | 6.56 | 5.7728 | 0.53097
| 15 |  | R123BA_1H | 100 | 1.5 | 190 | 5 | 181 | 4.57 | 0.82717 | 1.2408 | 5.27 | 1013 | 5.52 | 5.5918 | 0.63939 | 310 | 1973 | 5.52 | 10.891 | 36.5 | 120
| 15 | 124 | R124BA_1D | 150 | 1.5 | 200 | P: 0; Pulsed at 300 K λ: 5.25; Pulsed at 300 K Jth: 498; Pulsed at 300 K Vth: 5.6 | 0.63265
| 15 |  | R124BA_1E | 150 | 1.5 | 200 | P: 0; Pulsed at 300 K λ: 5.25; Pulsed at 300 K Jth: 489; Pulsed at 300 K Vth: 5.52 | 0.64182
| 15 |  | R124BA_1F | 150 | 1.5 | 200 | P: 0; Pulsed at 300 K λ: 5.25; Pulsed at 300 K Jth: 511; Pulsed at 300 K Vth: 5.84 | 0.60665
| 15 |  | R124BA_1G | 100 | 1.5 | 200 | 4.85 | 133 | 4.51 | 0.59983 | 0.89975 | 5.16 | 1053 | 6.32 | 6.655 | 0.57036 | 310 | 2267 | 8.2 | 18.5894 | 39.5 | 110
| 15 |  | R124BA_2E | 150 | 1.5 | 216 | 4.85 | 163 | 5.48 | 0.89324 | 2.0098 | 5.25 | 498 | 5.84 | 2.9083 | 0.60665 | 310 | 720 | 6
| 15 |  | R124BA_2F | 150 | 1.5 | 216 | 4.95 | 245.73 | 4.76 | 1.1697 | 2.6318 | 5.25 | 533 | 5.8 | 3.0914 | 0.61084 | 332 | 2200 | 10.8 | 23.76 |  | 116
| 15 |  | R124BA_2G | 100 | 1.5 | 216 | 4.95 | 363.33 | 4.58 | 1.6641 | 2.4961 | 5.21 | 933 | 6.6 | 6.1578 | 0.54092 | 315 | 4053 | 20 | 81.06 | 35.7 | 99
| 15 |  | R124BA_2H | 100 | 1.5 | 216 | 4.95 | 246 | 4.73 | 1.1636 | 1.7454 | 5.2 | 1013 | 6.6 | 6.6858 | 0.54196 | 310 | 2680 | 8 | 21.44 |  | 94
| 15 | 125 | R125BA_1F | 150 | 1.5 | 210 | 4.8 | 91 | 4.46 | 0.40586 | 0.91318 | 5.11 | 442 | 4.62 | 2.042 | 0.78786 | 330 | 1182 | 5.76 | 6.8083 | 45.2 | 120
| 15 |  | R125BA_1E | 150 | 1.5 | 210 | 4.8 | 93 | 4.46 | 0.41478 | 0.93325 | 5.1 | 444 | 5.36 | 2.3798 | 0.68042 | 330 | 1262 | 8.2 | 10.3484 |  | 120
| 15 |  | R125BA_1D | 150 | 1.5 | 210 | 4.8 | 94 | 4.49 | 0.42206 | 0.94964 | 5.1 | 462 | 5.68 | 2.6242 | 0.64209 | 330 | 1333 | 9 | 11.997 |  | 120
| 15 |  | R125BA_1C | 150 | 1.5 | 210 | 4.8 | 98 | 4.46 | 0.43708 | 0.98343 | 5.1 | 471 | 5.76 | 2.713 | 0.63317 | 330 | 1284 | 9.2 | 11.8128 |  | 120
| 15 |  | R125BA_2C | 150 | 1.5 | 224 | 4.9 | 183 | 4.83 | 0.88389 | 1.9888 | 5.15 | 436 | 5.84 | 2.5462 | 0.61843 | 340 | 2151 |  | 0 |  | 116
| 15 |  | R125BA_2D | 150 | 1.5 | 224 | 4.9 | 200 | 4.86 | 0.972 | 2.187 | 5.12 | 444 | 5.8 | 2.5752 | 0.62635 | 320 | 844 | 7 | 5.908 |  | 96
| 15 |  | R125BA_2E | 150 | 1.5 | 221 | 4.9 | 189 | 4.59 | 0.86751 | 1.9519 | 5.1 | 433 | 5.76 | 2.4941 | 0.63317 | 339 | 2178 | 10 | 21.78 | 43.8 | 118
| 15 |  | R125BA_3C | 150 | 1 | 215 | 4.85 | 252 | 4.56 | 1.1491 | 1.7237 | 5.11 | 560 | 5.28 | 2.9568 | 0.68938 | 335 | 2160 |  |  | 44.7 | 120
| 15 |  | R125BA_4D | 150 | 2 | 224 | 4.9 | 170 | 4.79 | 0.8143 | 2.4429 | 5.1 | 393 | 5.6 | 2.2008 | 0.65126 | 340 | 1587 | 10 |  | 44.1 | 116
| 15 |  | R125BA_5F | 150 | 3 | 181 | 4.72 | 45 | 4.45 | 0.20025 | 0.90112 | 5.13 | 373 | 6.16 | 2.2977 | 0.58859 |  |  |  |  | 44
| 15 | 126 | R126BA_1D | 150 | 1.5 | 210 | 4.71 | 102 | 4.62 | 0.47124 | 1.0603 | 5.1 | 507 | 5.84 | 2.9609 | 0.6245 | 320 | 978 | 7.52 | 7.3546 |  | 110
| 15 |  | R126BA_1F | 150 | 1.5 | 210 | 4.72 | 102.4 | 4.63 | 0.47411 | 1.0668 | 5.1 | 489 | 5.84 | 2.8558 | 0.6245 | 320 | 942 | 5.36 | 5.0491 |  | 110
| 15 |  | R126BA_2A | 100 | 1.5 | 210 | 4.75 | 140 | 4.96 | 0.6944 | 1.0416 | 5 | 1240 | 7 | 8.68 | 0.53143 | 305 | 1560 | 7.7 | 12.012 | 38.9 | 95
| 15 |  | R126BA_2C | 150 | 1.5 | 219 | 4.8 | 180 | 4.85 | 0.873 | 1.9642 | 5.02 | 507 | 5.84 | 2.9609 | 0.63445 | 335 | 2000 | 10 | 20 |  | 116
| 15 |  | R126BA_2D | 150 | 1.5 | 217 | 4.78 | 168 | 4.81 | 0.80808 | 1.8182 | 5.02 | 489 | 5.68 | 2.7775 | 0.65232 | 335 | 1956 | 10 | 19.56 |  | 118
136/140 15 stages SL waveguide | 15 | 136 | R136BA_1A | 100 | 1.5 | 205 | 4.87 | 147 | 4.79 | 0.70413 | 1.0562 | 5.1905 | 363.3333 | 5.52 | 2.0056 | 0.64918 | 360 | 1600 |  |  | 57 | 155 | 1um SL
| 15 |  | R136BA_1B | 100 | 1.5 |  | P: 0; Pulsed at 300 K λ: 5.1749; Pulsed at 300 K Jth: 426.6667; Pulsed at 300 K Vth: 5.92; Pulsed at 300 K Pth: 2.5259 | 0.60714 | [6 empty] | 1um SL
| 15 |  | R136BA_1C | 150 | 1.5 |  | P: 0; Pulsed at 300 K λ: 5.1546; Pulsed at 300 K Jth: 362.2222; Pulsed at 300 K Vth: 6.08; Pulsed at 300 K Pth: 2.2023 | 0.59349 | [6 empty] | 1um SL
| 15 |  | R136BA_1D | 150 | 1.5 |  | P: 0; Pulsed at 300 K λ: 5.1298; Pulsed at 300 K Jth: 380; Pulsed at 300 K Vth: 6.4; Pulsed at 300 K Pth: 2.432 | 0.56654 | 360 | 1800 |  |  |  |  | 1um SL
| 15 |  | R136BA_1E | 150 | 1.5 |  | P: 0; Pulsed at 300 K λ: 5.1875; Pulsed at 300 K Jth: 335.5556; Pulsed at 300 K Vth: 6.24; Pulsed at 300 K Pth: 2.0939 | 0.5746 | 360 | 1700 |  |  |  |  | 1um SL
| 15 |  | R136BA_1G | 100 | 1.5 |  | P: 0; Pulsed at 300 K λ: 5.18; Pulsed at 300 K Jth: 377; Pulsed at 300 K Vth: 5.84; Pulsed at 300 K Pth: 2.2017 | 0.61485 | 360 | 1700 |  |  |  |  | 1um SL
| 15 | 140 | R140BA_1A | 100 | 1.5 |  | P: 0; Pulsed at 300 K λ: 4.6; Pulsed at 300 K Jth: 407; Pulsed at 300 K Vth: 6.44; Pulsed at 300 K Pth: 2.6211 | 0.62787 | [6 empty] | 1um SL | n
| 15 |  | R140BA_1B | 150 | 1.5 |  | P: 0; Pulsed at 300 K λ: 4.6; Pulsed at 300 K Jth: 353; Pulsed at 300 K Vth: 7.08; Pulsed at 300 K Pth: 2.4992 | 0.57111 | [6 empty] | 1um SL | n
| 15 |  | R140BA_1C | 150 | 1.5 |  | P: 0; Pulsed at 300 K λ: 4.6; Pulsed at 300 K Jth: 276; Pulsed at 300 K Vth: 5.28; Pulsed at 300 K Pth: 1.4573 | 0.76581 | [6 empty] | 1um SL | n
| 15 |  | R140BA_1E | 150 | 1.5 |  | P: 0; Pulsed at 300 K λ: 4.6; Pulsed at 300 K Jth: 271; Pulsed at 300 K Vth: 6.56; Pulsed at 300 K Pth: 1.7778 | 0.61638 | [6 empty] | 1um SL | n
| 15 |  | R140BA_1F | 100 | 1.5 | 230 | 4.49 | 193 | 5.01 | 0.96693 | 1.4504 | 4.62 | 312 | 5.72 | 1.7846 | 0.70384 | 370 | 4900 |  |  | 50 | 140 | 1um SL | yes
0
0
139/141 18 stages | 18 | 139 | R139BA_1B | 150 | 1.5 |  |  |  |  | 0 | 0 | 6.3 | 960 | 6.35 | 6.096 | 0.55793 | [6 empty] | 1um SL
| 18 |  | R139BA_1C | 150 | 1.5 | 196 | 5.9 | 118.2222 | 4.62 | 0.54619 | 1.2289 | 6.35 | 924 | 6.35 | 5.8674 | 0.55354 | 324 | 3400 |  |  | 40 |  | 1um SL
| 18 |  | R139BA_1G | 100 | 1.5 | 196 | 5.9 | 156.6667 | 4.74 | 0.7426 | 1.1139 | 6.35 | 1506.6667 | 10.6 | 15.9707 | 0.3316 | 310 | 2306.6667
| 18 | 141 | R141BA_1A | 100 | 1.6 |  |  |  |  | 0 | 0 | 6.7 | 1250 | 9.84 | 12.3 | 0.33855
| 18 |  | R141BA_1B | 100 | 1.6 |  |  |  |  | 0 | 0 | 6.7 | 1250 | 9.94 | 12.425 | 0.33515
| 18 |  | R141BA_1G | 100 | 1.6 |  |  |  |  | 0 | 0 | 6.7 | 1537.5 | 12.2 | 18.7575 | 0.27306
| 18 |  | R141BA_1H | 100 | 1.6 | 206 | 6.35 | 144.375 | 4.82 | 0.69589 | 1.1134 | 6.7 | 1000 | 8.96 | 8.96 | 0.3718 | 310 | 1700 |  |  | 41 |  | 1.1um SL, lower doped
142/143 12 stages | 12 | 142 | R142BA_1A | 100 | 2 |  |  |  |  | 0 | 0 | 4.75 | 320 | 4.9 | 1.568 | 0.63931
| 12 |  | R142BA_1B | 100 | 2 |  |  |  |  | 0 | 0 | 4.75 | 308 | 4.9 | 1.5092 | 0.63931
| 12 |  | R142BA_1D | 150 | 2 |  |  |  |  | 0 | 0 | 4.75 | 302 | 5.3 | 1.6006 | 0.59106
| 12 |  | R142BA_1E | 150 | 2 |  |  |  |  | 0 | 0 | 4.75 | 290 | 6.3 | 1.827 | 0.49724
| 12 |  | R142BA_1F | 150 | 2 |  |  |  |  | 0 | 0 | 4.75 | 317 | 6 | 1.902 | 0.52211
| 12 |  | R142BA_1G | 100 | 2 |  |  |  |  | 0 | 0 | 4.75 | 315 | 5.4 | 1.701 | 0.58012
| 12 |  | R142BA_1H | 100 | 2 | 241 | 4.75 | 205 | 3.86 | 0.7913 | 1.5826 | 4.75 | 293 | 5.24 | 1.5353 | 0.59783 | 359 | 1750
| 12 | 143 | R143BA_1A | 100 | 2 |  |  |  |  | 0 | 0 | 4.53 | 343 | 5.1 | 1.7493 | 0.64407
| 12 |  | R143BA_1B | 100 | 2 | 242 | 4.48 | 290 | 4.32 | 1.2528 | 2.5056 | 4.53 | 295 | 4.8 | 1.416 | 0.68433 | 376 | 3900
| 12 |  | R143BA_1D | 150 | 2 |  |  |  |  | 0 | 0 | 4.53 | 287 | 5.5 | 1.5785 | 0.59723
| 12 |  | R143BA_1F | 150 | 2 |  |  |  |  | 0 | 0 | 4.53 | 300 | 5.5 | 1.65 | 0.59723
| 12 |  | R143BA_2E | 150 | 1.5 |  |  |  |  | 0 | 0 | 4.53 | 278 | 5.6 | 1.5568 | 0.58657 | 340 | 737.7778
| 12 |  | R143BA_2F | 150 | 1.5 |  |  |  |  | 0 | 0 | 4.53 | 284 | 5 | 1.42 | 0.65695 | 350 | 1004.4444
144/145 10 stages | 10 | 144 | R144BA_1A | 100 | 2 | 249 | 4.624 | 253 | 3.4 | 0.8602 | 1.7204 | 4.7 | 290 | 3.52 | 1.0208 | 0.74952 | 360
| 10 |  | R144BA_1D | 150 | 2 |  |  |  |  | 0 | 0 | 4.7 | 303 | 4.1 | 1.2423 | 0.64349
| 10 |  | R144BA_1G | 100 | 2 | 247 | 4.6 | 239 | 3.38 | 0.80782 | 1.6156 | 4.7 | 288 | 3.6 | 1.0368 | 0.73286 | 377 | 3125
| 10 | 145 | R145BA_1F | 150 | 2 |  | P: 0; Pulsed at 300 K λ: 4.67; Pulsed at 300 K Jth: 333; Pulsed at 300 K Vth: 4.1; Pulsed at 300 K Pth: 1.3653 | 0.64762
| 10 |  | R145BA_1G | 100 | 2 |  | P: 0; Pulsed at 300 K λ: 4.67; Pulsed at 300 K Jth: 337; Pulsed at 300 K Vth: 3.8; Pulsed at 300 K Pth: 1.2806 | 0.69875
| 10 |  | R145BA_1H | 100 | 2 | 245 | 4.6 | 310 | 3.58 |  | 2.2196 | 4.67 | 333 | 3.8 | 1.2654 | 0.69875 | 360 | 2000 |  |  | 49
type I 6 stages | 6 | 1046 | V1046BA_1E | 150 | 1.6 | 239 | 3.04 | 235 | 4.23 | 0.99405 | 2.3857 | 3.19 | 321 | 4.32 | 1.3867 | 0.53988 | 358 | 3100 | 8 | 24.8 | 47 | 119
| 6 |  | V1046BA_1F | 150 | 1.6 | 240 | 3.14 | 250 | 4.34 | 1.085 | 2.604 | 3.18 | 310 | 4.46 | 1.3826 | 0.52458 | 360 | 2650 | 8 | 21.2 |  | 120
| 6 |  | V1046BA_1H | 100 | 1.6 | 248 | 3.15 | 270 | 4.09 | 1.1043 | 1.7669 | 3.19 | 312 | 4.08 | 1.273 | 0.57164 | 360 | 2500 | 8 | 20 |  | 112
| 6 |  | V1046BA_2C | 150 | 1.5 | <240 | P: 0; Pulsed at 300 K λ: 3.17; Pulsed at 300 K Jth: 309; Pulsed at 300 K Vth: 4.48; Pulsed at 300 K Pth: 1.3843 | 0.52388 | 356 | 2200
| 6 |  | V1046BA_2G | 100 | 1.5 | 246 | 3.14 | 250 | 3.98 | 0.995 | 1.4925 | 3.18 | 319 | 4.08 | 1.3015 | 0.57344 | 359 | 3000 | 10 | 30 | 47 | 113
| 6 |  | V1046BA_2H | 100 | 1.5 | 240 | P: 0; Pulsed at 300 K λ: 3.18; Pulsed at 300 K Jth: 363; Pulsed at 300 K Vth: 4.7; Pulsed at 300 K Pth: 1.7061 | 0.49779 | NA
| 6 | 1050 | V1050BA_1C | 150 | 1.5 |  | P: 0; Pulsed at 300 K λ: 3.13; Pulsed at 300 K Jth: 300; Pulsed at 300 K Vth: 4.4; Pulsed at 300 K Pth: 1.32 | 0.54023
| 6 |  | V1050BA_1D | 150 | 1.5 |  | P: 0; Pulsed at 300 K λ: 3.12; Pulsed at 300 K Jth: 311.11; Pulsed at 300 K Vth: 4.44; Pulsed at 300 K Pth: 1.3813 | 0.53708
| 6 |  | V1050BA_1E | 150 | 1.5 |  | P: 0; Pulsed at 300 K λ: 3.13; Pulsed at 300 K Jth: 304.44; Pulsed at 300 K Vth: 4.36; Pulsed at 300 K Pth: 1.3274 | 0.54518
| 6 |  | V1050BA_1F | 150 | 1.5 |  | P: 0; Pulsed at 300 K λ: 3.12; Pulsed at 300 K Jth: 313.33; Pulsed at 300 K Vth: 4.48; Pulsed at 300 K Pth: 1.4037 | 0.53228
| 6 |  | V1050BA_1G | 100 | 1.5 | 250 | 3.11 | 281 | 4.12 |  | 1.7366 | 3.13 | 294.67 | 4 | 1.1787 | 0.59425 | 362 | 2800 |  |  | 50 | 112
| 6 |  | V1050BA_1H | 100 | 1.5 |  | P: 0; Pulsed at 300 K λ: 3.12; Pulsed at 300 K Jth: 296; Pulsed at 300 K Vth: 4; Pulsed at 300 K Pth: 1.184 | 0.59615
| 6 |  | V1050BA_2A | 100 | 2 |  | P: 0; Pulsed at 300 K Jth: 267.5; Pulsed at 300 K Vth: 3.92; Pulsed at 300 K Pth: 1.0486
| 6 |  | V1050BA_2B | 100 | 2 |  | P: 0; Pulsed at 300 K Jth: 267.5; Pulsed at 300 K Vth: 3.92; Pulsed at 300 K Pth: 1.0486 |  | 367 | 2600
| 6 |  | V1050BA_2C | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 261.6667; Pulsed at 300 K Vth: 4.28; Pulsed at 300 K Pth: 1.1199
| 6 |  | V1050BA_2D | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 316.6667; Pulsed at 300 K Vth: 4.48; Pulsed at 300 K Pth: 1.4187
| 6 |  | V1050BA_2E | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 275; Pulsed at 300 K Vth: 4.4; Pulsed at 300 K Pth: 1.21
| 6 |  | V1050BA_2F | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 286.6667; Pulsed at 300 K Vth: 4.48; Pulsed at 300 K Pth: 1.2843
| 6 |  | V1050BA_2G | 100 | 2 |  | P: 0; Pulsed at 300 K Jth: 285; Pulsed at 300 K Vth: 3.8; Pulsed at 300 K Pth: 1.083
| 6 |  | V1050BA_2H | 100 | 2 |  | P: 0; Pulsed at 300 K Jth: 287.5; Pulsed at 300 K Vth: 3.76; Pulsed at 300 K Pth: 1.081
| 6 | 1051 | V1051BA_1D | 150 | 1.5 |  | P: 0; Pulsed at 300 K λ: 3.14; Pulsed at 300 K Jth: 391.11; Pulsed at 300 K Vth: 4.68; Pulsed at 300 K Pth: 1.8304 | 0.50629
| 6 |  | V1051BA_1E | 150 | 1.5 |  | P: 0; Pulsed at 300 K λ: 3.16; Pulsed at 300 K Jth: 377.78; Pulsed at 300 K Vth: 4.44; Pulsed at 300 K Pth: 1.6773 | 0.53028
| 6 |  | V1051BA_1F | 150 | 1.5 |  | P: 0; Pulsed at 300 K λ: 3.15; Pulsed at 300 K Jth: 337.78; Pulsed at 300 K Vth: 4.44; Pulsed at 300 K Pth: 1.4997 | 0.53196
| 6 |  | V1051BA_1G | 100 | 1.5 | 245 | 3.1 | 247 | 3.91 |  | 1.4487 | 3.16 | 353.33 | 4.04 | 1.4275 | 0.58278 | 350 | 2200 |  |  | 48
|  | 1079 | V1079BA_2A | 100 | 2 |  | P: 0; Pulsed at 300 K Jth: 280; Pulsed at 300 K Vth: 4.04; Pulsed at 300 K Pth: 1.1312
|  |  | V1079BA_2B | 100 | 2 |  | P: 0; Pulsed at 300 K Jth: 270; Pulsed at 300 K Vth: 4.04; Pulsed at 300 K Pth: 1.0908 |  | 366 | 2700
|  |  | V1079BA_2C | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 266.6667; Pulsed at 300 K Vth: 4.4; Pulsed at 300 K Pth: 1.1733
|  |  | V1079BA_2D | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 273.3333; Pulsed at 300 K Vth: 4.4; Pulsed at 300 K Pth: 1.2027
|  |  | V1079BA_2E | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 270; Pulsed at 300 K Vth: 4.4; Pulsed at 300 K Pth: 1.188
|  |  | V1079BA_2F | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 280; Pulsed at 300 K Vth: 4.44; Pulsed at 300 K Pth: 1.2432
|  |  | V1079BA_2G | 100 | 2 |  | P: 0; Pulsed at 300 K Jth: 307.5; Pulsed at 300 K Vth: 3.84; Pulsed at 300 K Pth: 1.1808
|  |  | V1079BA_2H | 100 | 2 |  | P: 0; Pulsed at 300 K Jth: 287.5; Pulsed at 300 K Vth: 3.84; Pulsed at 300 K Pth: 1.104
|  | 1080 | A | 100 | 2 |  | P: 0; Pulsed at 300 K λ: 3.17; Pulsed at 300 K Jth: 324; Pulsed at 300 K Vth: 4.4
|  |  | B | 100 | 2 | 240 |  | 150 | 3.75 |  | 1.125 | 3.17 | 268 | 4.16 |  |  | 365 | 2100
|  |  | C | 150 | 2 |  | P: 0; Pulsed at 300 K λ: 3.17; Pulsed at 300 K Jth: 259; Pulsed at 300 K Vth: 4.4
|  |  | D | 150 | 2 |  | P: 0; Pulsed at 300 K λ: 3.17; Pulsed at 300 K Jth: 269; Pulsed at 300 K Vth: 4.4
|  |  | F | 150 | 2 |  | P: 0; Pulsed at 300 K λ: 3.17; Pulsed at 300 K Jth: 261; Pulsed at 300 K Vth: 4.32
|  |  | G | 100 | 2 |  | P: 0; Pulsed at 300 K λ: 3.17; Pulsed at 300 K Jth: 272; Pulsed at 300 K Vth: 3.92
|  |  | H | 100 | 2 |  | P: 0; Pulsed at 300 K λ: 3.17; Pulsed at 300 K Jth: 260; Pulsed at 300 K Vth: 3.92 |  | 365 | 2050
|  | 1081 | A | 100 | 2 |  | P: 0; Pulsed at 300 K λ: 3.15; Pulsed at 300 K Jth: 260; Pulsed at 300 K Vth: 4.56
|  |  | C | 150 | 2 |  | P: 0; Pulsed at 300 K λ: 3.15; Pulsed at 300 K Jth: 258; Pulsed at 300 K Vth: 4.4
|  |  | D | 150 | 2 |  | P: 0; Pulsed at 300 K λ: 3.15; Pulsed at 300 K Jth: 240; Pulsed at 300 K Vth: 4.4
|  |  | E | 150 | 2 |  | P: 0; Pulsed at 300 K λ: 3.16; Pulsed at 300 K Jth: 258; Pulsed at 300 K Vth: 4.48
|  |  | F | 150 | 2 |  | P: 0; Pulsed at 300 K λ: 3.15; Pulsed at 300 K Jth: 240; Pulsed at 300 K Vth: 4.48
|  |  | G | 100 | 2 | 240 |  | 166 | 3.93 |  | 1.3048 | 3.16 | 236 | 4.64 |  |  | 365 | 1500
|  |  | H | 100 | 2 |  | P: 0; Pulsed at 300 K λ: 3.16; Pulsed at 300 K Jth: 236; Pulsed at 300 K Vth: 4.64
|  | 1082 | A | 100 | 2 |  | P: 0; Pulsed at 300 K Jth: 468; Pulsed at 300 K Vth: 4.96
|  |  | B | 100 | 2 |  | P: 0; Pulsed at 300 K Jth: 356; Pulsed at 300 K Vth: 4.56
|  |  | D | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 256; Pulsed at 300 K Vth: 4.32
|  |  | E | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 250.6667; Pulsed at 300 K Vth: 4.32
|  |  | F | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 242.6667; Pulsed at 300 K Vth: 4.32
|  |  | H | 100 | 2 |  | P: 0; Pulsed at 300 K Jth: 263; Pulsed at 300 K Vth: 3.88 |  | 367 | 2800
|  | 1083 | A | 100 | 2 |  | P: 0; Pulsed at 300 K Jth: 327.5; Pulsed at 300 K Vth: 4.4
|  |  | B | 100 | 2 | <230 | P: 0; Pulsed at 300 K Jth: 291; Pulsed at 300 K Vth: 4.12 |  | 364 | 2550
|  |  | C | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 275; Pulsed at 300 K Vth: 4.48
|  |  | D | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 275; Pulsed at 300 K Vth: 4.48
|  |  | E | 150 | 2 |  | P: 0; Pulsed at 300 K Jth: 280; Pulsed at 300 K Vth: 4.48